## Sheet1
Lista produse SENECA
Pentru preturile actualizate va rugam sa ne contactati
Product Code | Description | Category
A-DIN-T201 | T Line DIN rail mounting clip | Accessories
A-DIR-10-869 | Base station antenna, Directional , 869 MHz, 10 elements | Antennas
A-DIR-6-869 | Base station antenna, Directional , 869 MHz, 6 elements | Antennas
A-GPS | External GPS antenna - magnetic mount (for MY2G) | Antennas
A-GSM | Dual band swing GSM external antenna, cable 3,2 m, SMA | Antennas
A-GSM-DIR-5M | GSM/UMTS triband Directive Antenna, cable 5 m, SMA | Antennas
A-GSM-OMNIDIR | GSM-UMTS-WIFI Omnidirectional Antenna | Antennas
A-GSM-QUAD | High performance Quadband GSM Antenna | Antennas
ANT-LINK1-MG | Z-LINK1 external dual band antenna | Antennas
A-STIL | M-RTU GSM stilo antenna | Antennas
B
BATTHP | Lithium battery pack, 14.4V, 18,5 Ah for M-RTU | Accessories
BATT-S | 3-cell battery pack, 11,1 V - 14,5 Ah for M-RTU | Accessories
BOX-1000-008-10 | Voltage divider 1000 Vdc - 10 V / 80 mV | Photovoltaic Components
BOX-1000-01-10 | Voltage divider 1000 Vdc - 10 V / 100 mV | Photovoltaic Components
C
CASS01 | M-RTU external case | Accessories
CODESYS | CoDeSys Development Environment | Programming / Software
D
DIV-DONGLE-USB | Z-TWS4 USB Dongle | Accessories
DL169-RS232 | Simple/Half-duplex 169,4 MHz OEM Radiomodem, RS232 | Communication Interfaces - Wireless
DL169-RS485 | Simple/Half-duplex 169,4 MHz OEM Radiomodem, RS485 | Communication Interfaces - Wireless
DL-COUNT | IP65 pulse input datalogger | Dataloggers
DL-mA | IP65 mA input datalogger | Dataloggers
DL-mV | IP65 mV input datalogger | Dataloggers
DL-V | IP65 V input datalogger | Dataloggers
DR-2 | 2-CH Data Recorder, acquisition and visualization software for Modbus I/O modules | Programming / Software
DR-4 | 4-CH Data Recorder, acquisition and visualization software for Modbus I/O modules | Programming / Software
DR-8 | 8-CH Data Recorder, acquisition and visualization software for Modbus I/O modules | Programming / Software
DR-16 | 16-CH Data Recorder, acquisition and visualization software for Modbus I/O modules | Programming / Software
DR-32 | 32-CH Data Recorder, acquisition and visualization software for Modbus I/O modules | Programming / Software
DR-64 | 64-CH Data Recorder, acquisition and visualization software for Modbus I/O modules | Programming / Software
DR-2-PLUS | 2-CH Data Recorder + package "plus" (alarms, math, report, multi-client) | Programming / Software
DR-4-PLUS | 4-CH Data Recorder + package "plus" (alarms, math, report, multi-client) | Programming / Software
DR-8-PLUS | 8-CH Data Recorder + package "plus" (alarms, math, report, multi-client) | Programming / Software
DR-16-PLUS | 16-CH Data Recorder + package "plus" (alarms, math, report, multi-client) | Programming / Software
DR-32-PLUS | 32-CH Data Recorder + package "plus" (alarms, math, report, multi-client) | Programming / Software
DR-64-PLUS | 64-CH Data Recorder + package "plus" (alarms, math, report, multi-client) | Programming / Software
D-USB | USB Drivers (S107USB, K107USB, EASY USB, S117P1) | Programming / Software
DVD-ZTWS4-ODE | Z-TWS4 DVD, linux open source platform | Programming / Software
E
E2002-2-M | Backboard power meter with LCD display, accuracy class 0,5/1, power supply 115/230 Vac 50/60 Hz | Power Analyzers - Series E
E2002-3-M | Backboard power meter with LCD display, accuracy class 0,5/1, power supply 12/24/48/110 Vdc RS485 isolated | Power Analyzers - Series E
E2002-4-M | Backboard power meter with LCD display, accuracy class 0,5/1, power supply 24 Vac 50/60 Hz | Power Analyzers - Series E
E742002-2 | Panel board power meter, LCD display, accuracy class 0,5/1, power supply 115/230 Vac | Power Analyzers - Series E
E92002-2 | Panel board power meter, LCD display, accuracy class 0,5/1, power supply 115/230 Vac | Power Analyzers - Series E
E92002-3 | Panel board power meter, LCD display, accuracy class 0,5/1, power supply 24 Vac | Power Analyzers - Series E
E92002-4 | Panel board power meter, LCD display, accuracy class 0,5/1, power supply 24 Vac | Power Analyzers - Series E
EASY LOG VIEWER | Data acquisition and trend software for MY2, Z-GPRS2, Z-LOGGER | Programming / Software
EASY LP | Plug&play software suite for Seneca loop powered instruments (K120RTD, K121, T120, T121) | Programming / Software
EASY MYALARM | MYALARM GSM software configurator | Programming / Software
EASY MYALARM2 | MYALARM2 software configurator | Programming / Software
EASY RELAY | Relay interface, SPDT 250 Vac, 3A | Accessories
EASY SETUP | Complete plug&play Seneca software suite (Z-D-IN, Z-D-OUT, Z-10-D-IN, Z-10-D-OUT, Z-D-IO, Z-4AI, Z-8AI, Z-3AO, Z-4TC, Z-8TC, Z-4RTD2, Z-DAQ, Z-PID, Z-SG, S203T, S203TA, Z203, Z203-1, Z-DAQ-PID, ZC-24DI, ZC-24DO, ZC-16DI-8DO, S311A, S311D, S312, S401, ZC-SG, ZC-8AI, ZC-8TC, ZC-4RTD, ZC-3AO, T120, T121, K120RTD, K121, K111, Z109REG2, Z109UI2, Z109TC2, Z109RTD2, Z170REG, MYALARM GSM, Z-GPRS) | Programming / Software
EASY-USB | USB - UART TTL converter | Communication Interfaces - USB
EDS | I/O CANopen modules EDS file collection | Programming / Software
F
FD01 | Photodetector for pulse counting | Accessories
-FL | Front panel support for LCD display, accuracy class 0,5/1 network analyzer | Accessories
FLEX-DIN | DIN rail guide support for T120 / T121 | Accessories
G
-GSM | GSM modem board for Z-RTU | Accessories
H
HD67651 | Convertitore Modbus Master/Profibus dp slave
I
IEC | Z-TWS4 energy protocols license (IEC 60870, IEC 61850) | Programming / Software
K
K107A | RS485/RS485 serial repeater isolator | Compact Isolator Converters - K Line
K107B | RS232/RS485 serial converter isolator | Compact Isolator Converters - K Line
K107USB | RS485/USB serial converter isolator | Compact Isolator Converters - K Line
K109LV | Current shunt / V-I converter isolator | Compact Isolator Converters - K Line
K109PT | Pt100 to DC current / voltage isolator converter | Compact Isolator Converters - K Line
K109PT1000 | Pt1000 to DC current / voltage isolator converter | Compact Isolator Converters - K Line
K109PT-HPC | Pt100 to DC current / voltage isolator converter (high precision) | Compact Isolator Converters - K Line
K109S | DC current / voltage to current / voltage isolator converter (2 wire power transducer) | Compact Isolator Converters - K Line
K109TC | TC to DC current / voltage isolator converter with settable threshold | Compact Isolator Converters - K Line
K109UI | DC current / voltage to current / voltage isolator converter | Compact Isolator Converters - K Line
K111 | Isolated dual output frequency trip amplifier | Compact Isolator Converters - K Line
K111-C | Isolated dual output frequency trip amplifier, configured version | Compact Isolator Converters - K Line
K112 | Universal digital coupler/isolator | Compact Isolator Converters - K Line
K120RTD | Pt100, Ni100 to DC current converter (loop powered) | Compact Isolator Converters - K Line
K120RTD-C | Pt100, Ni100 to DC current converter (loop powered), configured version | Compact Isolator Converters - K Line
K121 | Loop powered isolator / universal converter (mA, V, Ohm, RTD, TC) | Compact Isolator Converters - K Line
K121-C | Loop powered isolator / universal converter (mA, V, Ohm, RTD, TC), configured version | Compact Isolator Converters - K Line
K-BUS | Expandable power supply connector | Accessories
K-SUPPLY | Redundant power supply module for K-Line modules | Accessories
KIT-USB | Programming toolkit for USB interface instruments: ZE-2AI, ZE-2AI-2DO-4DI, Z-2AI-2DO-4DI, Z-LOGGER, Z-BRIDGE2, Z-GATEWAY, S203TA-D, S230RC-D, Z-GPRS2 | Programming / Software
L
LS-C | SENECA libraries - CoDeSys | Programming / Software
LS-I | SENECA libraries - Isagraf | Programming / Software
LS-VI | SENECA libraries - LabVIEW Driver VI | Programming / Software
M
MOV-ALR-DISP | Movicon 11 OEM, dispatcher option | Programming / Software
MOV-OP11-DL | Movicon 11 OEM, datalogger option | Programming / Software
MOV-RT11-128-H | Movicon 11 OEM, 128 byte RT | Programming / Software
MOV-RT11-512-H | Movicon 11 OEM, 512 byte RT | Programming / Software
M-RTU-1 | Micro RTU, standard version, 4 DI, 2 AI, 2 DO, removable clamps | GSM/GPRS Units
M-RTU-2 | Micro RTU, standard version, 4 DI, 2 AI, 2 DO, ring connectors | GSM/GPRS Units
M-RTU-GP | Micro RTU, general purpose version (M-RTU-1 + GSM external antenna+battery package+cable+DIN rail connector) | GSM/GPRS Units
M-RTU-PC | Micro RTU, cathodic protection version (M-RTU-2 + GSM external antenna+battery package+cable+DIN rail connector) | GSM/GPRS Units
M-RTU-WB | M-RTU Workbench | Programming / Software
MY-0 | MYALARM GSM, GSM remote control unit | GSM/GPRS Units
MY2B-0-0-M-B | MyAlarm2, base / datalogger, clamp, blu color case | GSM/GPRS Units
MY2B-0-0-M-G | MyAlarm2, base / datalogger, clamp, grey color case | GSM/GPRS Units
MY2B-R-0-M-B | MyAlarm2, standard / datalogger, relay board, clamps, blu color case | GSM/GPRS Units
MY2B-R-0-M-G | MyAlarm2, standard / datalogger, relay board, clamps, grey color case | GSM/GPRS Units
MY2B-0-0-M-B-IP66 | MyAlarm2, base / datalogger, clamps, blu color IP66 case | GSM/GPRS Units
MY2B-0-0-M-G-IP66 | MyAlarm2, base / datalogger, clamps, grey color IP66 case | GSM/GPRS Units
MY2B-R-0-M-B-IP66 | MyAlarm2, base / datalogger, relay board, clamps, blu color IP66 case | GSM/GPRS Units
MY2B-R-0-M-G-IP66 | MyAlarm2, base / datalogger, relay board, morsetti, grey color IP66 case | GSM/GPRS Units
MY2S-0-0-M-B | MyAlarm2, security audio, SD card, clamps, blue color case | GSM/GPRS Units
MY2S-0-0-M-G | MyAlarm2, security audio, SD card, clamps, grey color case | GSM/GPRS Units
MY2S-R-0-M-B | MyAlarm2, security audio, SD card, relay board, clamps, blue color case | GSM/GPRS Units
MY2S-R-0-M-G | MyAlarm2, security audio, SD card, relay board, clamps, grey color case | GSM/GPRS Units
MY2S-R-W-M-B | MyAlarm2, security audio, SD card, relay board, radio module, clamps, blu color case | GSM/GPRS Units
MY2S-R-W-M-G | MyAlarm2, security audio, SD card, relay board, radio module, clamps, grey color case | GSM/GPRS Units
MY2S-0-0-M-B-IP66 | MyAlarm2, security audio, SD card, clamps, blu color IP66 case | GSM/GPRS Units
MY2S-0-0-M-G-IP66 | MyAlarm2, security audio, SD card, clamps, grey color IP66 case | GSM/GPRS Units
MY2S-R-0-M-B-IP66 | MyAlarm2, security audio, SD card, relay board, clamps, blu color IP66 case | GSM/GPRS Units
MY2S-R-0-M-G-IP66 | MyAlarm2, security audio, SD card, relay board, clamps, grey color IP66 case | GSM/GPRS Units
MY2S-R-W-M-B-IP66 | MyAlarm2, security audio, SD card, relay board, modulo radio, clamps, blu color IP66 case | GSM/GPRS Units
MY2S-R-W-M-G-IP66 | MyAlarm2, security audio, SD card, relay board, modulo radio, clamps, grey color IP66 case | GSM/GPRS Units
MY2G-0-0-M-B | MyAlarm2, GPS version, SD card, clamps, blue color case | GSM/GPRS Units
MY2G-0-0-M-G | MyAlarm2, GPS version, SD card, clamps, grey color case | GSM/GPRS Units
MY2G-R-0-M-B | MyAlarm2, GPS version, SD card, relay board, clamps, blue color case | GSM/GPRS Units
MY2G-R-0-M-G | MyAlarm2, GPS version, SD card, relay board, clamps, grey color case | GSM/GPRS Units
MY2G-R-W-M-B | MyAlarm2, GPS version, SD card, relay board, radio module, clamps, blu color case | GSM/GPRS Units
MY2G-R-W-M-G | MyAlarm2, GPS version, SD card, relay board, radio module, clamps, grey color case | GSM/GPRS Units
MY2G-0-0-M-B-IP66 | MyAlarm2, GPS version, SD card, clamps, blu color IP66 case | GSM/GPRS Units
MY2G-0-0-M-G-IP66 | MyAlarm2, GPS version, SD card, clamps, grey color IP66 case | GSM/GPRS Units
MY2G-R-0-M-B-IP66 | MyAlarm2, GPS version, SD card, relay board, morsetti, cblu color IP66 case | GSM/GPRS Units
MY2G-R-0-M-G-IP66 | MyAlarm2, GPS version, SD card, relay board, morsetti, grey color IP66 case | GSM/GPRS Units
MY2G-R-W-M-B-IP66 | MyAlarm2, GPS version, SD card, relay board, radio module, clamps, blue color IP66 case | GSM/GPRS Units
MY2G-R-W-M-G-IP66 | MyAlarm2, GPS version, SD card, relay board, radio module, clamps, grey color IP66 case | GSM/GPRS Units
O
OCX | ActiveX control for visualizing | Programming / Software
OPC-SERVER | OPC Server Z-TWS | Programming / Software
OPC-SERVER I/O-1 | OPC Server I/O 100 tag | Programming / Software
OPC-SERVER I/O-2 | OPC Server I/O 500 tag | Programming / Software
OPC-SERVER I/O-3 | OPC Server I/O unlimited tag | Programming / Software
OPC-SERVER MB-1 | OPC Server ModBUS Slave 100 tag | Programming / Software
OPC-SERVER MB-2 | OPC Server ModBUS Slave 500 tag | Programming / Software
OPC-SERVER MB-3 | OPC Server ModBUS Slave unlimited tag | Programming / Software
OPC-SERVER-D | OPC Server demo (30') | Programming / Software
P
PM001420 | RS232 serial cable (RJ10 / DB9F) | Cables
PM001430 | Modem communication cable (RJ10 / DB25M ) | Cables
PM001440 | Modem - operator panel communication - cable (RJ10 / DB25M ) | Cables
PM001450 | Right angle Ethernet cable (RJ45 / RJ45) | Cables
PM001460 | Crossover Ethenet cable (RJ45 / RJ45) | Cables
PM001530 | Modem serial cable (RJ10 / DB9M) | Cables
PM001601 | Programming serial cable (Jack / DB9F) | Cables
PM001810 | Operatore Panel programming cable (DB15F / DB9F) | Cables
PM001820 | Operator Panel communication cable (DB15F / RJ10) | Cables
PM001830 | ZTOP O.P. communication cable (DB15F / DB9M) | Cables
PM001840 | ZTOP O.P. communication cable(DB15F / bolt heads) | Cables
PM001970 | RS232 serial cable for K107B (Bolt heads / DB9F) | Cables
PM002240 | Z109REG2 / Test-3 programming cable (Jack / Jack) | Cables
PM002341 | Tp-Wire cable for Z-PROFIBUS (Tp-wire / Tp-wire) | Cables
PM002350 | RS485 serial cable per radiomodem (DB9M / bolt heads) | Cables
PM002390 | RS232 connection cable for M-RTU (DB9F-CFV10) | Cables
PM002412 | T120 / K120RTD programming cable (RJ10 / AMP MODU II 4 F) | Cables
PM002460 | RS485 Tp-wire serial cable (Tp-wire / bolt heads) | Cables
PM002470 | Serial cable (RJ10 / RJ10) | Cables
PM002480 | RS485 serial cable for S301 indicator (RJ10/3 bolt heads) | Cables
PM002490 | RS232 straight serial cable (DB9M / DB9F) | Cables
PM002500 | RS232 null modem seial cable (DB9M / DB9F) | Cables
PM002510 | RS485 serial cable (DB9F / Bolt heads) | Cables
PM002520 | RS232 serial cable (DB9M / DB9M) | Cables
PM002530 | RS232 serial cable (DB9F / DB9F) | Cables
PM004200 | Serial communication cable (RJ10/ 4 bolt heads) | Cables
POZZ-100 | 100 mm length thermowell | Accessories
POZZ-150 | 150 mm length thermowell | Accessories
POZZ-200 | 200 mm length thermowell | Accessories
POZZ-50 | 50 mm length thermowell | Accessories
-PSTN | Z-RTU PSTN modem board | Accessories
PT100-100 | Standard Pt100 thermoprobe, 100 mm lenght | PT100 Thermoprobe
PT100-100-MA | Standard Pt100 thermoprobe, 100 mm lenght, 4-20 mA output | PT100 Thermoprobe
PT100-150 | Standard Pt100 thermoprobe, 150 mm lenght | PT100 Thermoprobe
PT100-150-MA | Standard Pt100 thermoprobe, 150 mm lenght, 4-20 mA output | PT100 Thermoprobe
PT100-200 | Standard Pt100 thermoprobe, 200 mm lenght | PT100 Thermoprobe
PT100-200-MA | Standard Pt100 thermoprobe, 200 mm lenght, 4-20 mA output | PT100 Thermoprobe
PT100-50 | Standard Pt100 thermoprobe, 50 mm lenght | PT100 Thermoprobe
PT100-50-MA | Standard Pt100 thermoprobe, 50 mm lenght, 4-20 mA output | PT100 Thermoprobe
PT100-A | Air temperature Pt100 | PT100 Thermoprobe
PT100-A-MA | Air temperature Pt100 Standard Pt100 thermoprobe, 100 mm lenght | PT100 Thermoprobe
PT100-SOLARE | Pt100 3 wire, photovoltaic application | PT100 Thermoprobe
PT100-SOLARE-MA | Pt100 3 wire, photovoltaic application, 4-20 mA output | PT100 Thermoprobe
R
RC-V400-100 | Rogowski Coil, 100 kA 50-60 Hz, Ø 400 mm, cable 2,5 m | Accessories
S
S100S-1-ST | Current loop dual power supply, power supply 115 / 230 Vac | Industrial Power Supply - S Line
S100S-3-ST | Current loop dual power supply, power supply 24 Vac | Industrial Power Supply - S Line
S102-1-ST | Potentiometer to DC isolator / converter, power supply 115 / 230 Vac | Converters Isolators - S Line
S104-1-ST | DC to frequency isolator - converter, power supply 115 / 230 Vac | Converters Isolators - S Line
S105CS1-B | AC single phase voltage control relay, self powered | Converters Isolators - S Line
S105CS1-C | AC single phase voltage control relay, self powered, SPDT output | Converters Isolators - S Line
S105TCS-1 | AC 3-phase voltage control relay, 380 V | Converters Isolators - S Line
S105TCS-2 | AC 3-phase voltage control relay, 230 V | Converters Isolators - S Line
S105TCS-3 | AC 3-phase voltage control relay, 400 V | Converters Isolators - S Line
S107P | RS232 - RS485/422 serial converter, portable version | Communication Interfaces - Serial
S107USB | RS485/USB serial converter, portable version | Communication Interfaces - USB
S108 | AC amperometer protection, power supply 115 / 230 Vac | Converters Isolators - S Line
S109PT-1-ST | Pt100 to DC isolator - converter, power supply 115 / 230 Vac | Converters Isolators - S Line
S109REG-1-ST | Power supply - V-I converter with galvanic isolation, 115 / 230 Vac | Converters Isolators - S Line
S109REG-1-X7 | Power supply - V-I converter with galvanic isolation, input range up to 200 Vdc | Converters Isolators - S Line
S109S-1-ST | 4-20 mA loop power supply with galvanic isolation, power supply 115 / 230 Vac | Converters Isolators - S Line
S111-1-ST | Frequency to DC isolator - converter, power supply 115 / 230 Vac | Converters Isolators - S Line
S112A-1-ST | On/Off sensor digital amplifier, 1 relay output, power supply 115 / 230 Vac | Converters Isolators - S Line
S112D-1-ST | On/off sensor amplifier, 2 relay output, power supply 115 / 230 Vac | Converters Isolators - S Line
S112M-1-ST | On-Off sensor amplifier, 5 SPST relay output, power supply 115 / 230 Vac | Converters Isolators - S Line
S112M-23-ST | On-Off sensor amplifier, 5 SPST relay output, power supply 24 Vac / dc | Converters Isolators - S Line
S113S-1-ST | DC current / voltage single alarm trip module, power supply 115 / 230 Vac | Converters Isolators - S Line
S113T-1-ST | DC current - voltage triple alarm trip module, power supply 115 / 230 Vac | Converters Isolators - S Line
S117P1 | RS232/USB, TTL/USB, RS485/USB asynchronous serial converter | Communication Interfaces - USB
S170-1-ST | DC duplicator - isolator, power supply 115 / 230 Vac | Converters Isolators - S Line
S2000-1-ST | Flow computer, power supply 115 / 230 Vac | Flow Computers - S Line
S2000-23-ST | Flow computer, power supply 24 Vac / dc | Flow Computers - S Line
S200-1-ST | Dual stabilized power supply, power supply 115 / 230 Vac | Industrial Power Supply - S Line
S200D-1-ST | Digital indicator 3 1/2 digit, power supply 115 / 230 Vac | Industrial Power Supply - S Line
S200DP-1-ST | Digital indicator 3 1/2 digit, 115/230 Vac, settable setpoint, power supply 115 / 230 Vac | Industrial Power Supply - S Line
S200G | Power supply mA signal generator, 115 / 230 Vac | Industrial Power Supply - S Line
S200REG-16 | Adjustable stabilized power supply, 14-18 Vdc / 0,5 A max | Industrial Power Supply - S Line
S200REG-24 | Adjustable stabilized power supply, 22-26 Vdc / 0,35 A max | Industrial Power Supply - S Line
S201D-1-ST | Digital indicator 3 1/2 digit, 230 Vac | Industrial Power Supply - S Line
S201DP-1-ST | Digital indicator 3 1/2 digit, 230 Vac, settable setpoint | Industrial Power Supply - S Line
S203RC-D | Three-phase Network Analyzer for Rogowski’s sensor | Advanced Modbus Network Analyzers - S203 Series
S203T | AC triple phase network analyzer, 100 mA input | Advanced Modbus Network Analyzers - S203 Series
S203TA | AC triple-phase network analyzer (5 Arms max input) | Advanced Modbus Network Analyzers - S203 Series
S203TA-D | AC three phase network analyzer with energy meter | Advanced Modbus Network Analyzers - S203 Series
S20ADP | Input adapter board self-powered for S20N, S21, S30 | Accessories
S20ADP-CM | Self-powered input adapter board for S20N, S21, S30 | Accessories
S20ADP-CM-S | Adapter module for sinusoidal sensor input | Accessories
S20ADP-IP65 | IP65 self-powered input adapter board | Accessories
S20N-1-ST | Basic batch controller, power supply 115 / 230 Vac | Batch Controllers - S Line
S20N-23-ST | Basic batch controller, power supply 24 Vac / dc | Batch Controllers - S Line
S20NEX-1-ST | Basic batch controller, Eexd case, power supply 115 / 230 Vac | Batch Controllers - S Line
S20NEX-23-ST | Basic batch controller, Eexd case, power supply 24 Vac / dc | Batch Controllers - S Line
S20NIP65-1-ST | Basic batch controller, IP65 case, power supply 115 / 230 Vac | Batch Controllers - S Line
S20NIP65-23-ST | Basic batch controller, IP65 case, power supply 24 Vac / dc | Batch Controllers - S Line
S20N-KIT-1-ST | S20N remote board, power supply 115 / 230 Vac | Accessories
S20N-KIT-23-ST | S20N remote board, power supply 24 Vac / dc | Accessories
S21-1-ST | Batch controller clock based, power supply 115-230 Vac | Batch Controllers - S Line
S21-23-ST | Batch controller clock based, power supply 24 Vac / dc | Batch Controllers - S Line
S21EX-1-ST | Batch controller clock based, Eexd case, power supply 115 / 230 Vac | Batch Controllers - S Line
S21EX-23-ST | Batch controller clock based, Eexd case, power supply 24 Vac / dc | Batch Controllers - S Line
S21IP65-1-ST | Batch controller clock based, IP65 case, power supply 115 / 230 Vac | Batch Controllers - S Line
S21IP65-23-ST | Batch controller clock based, IP65 case, power supply 24 Vac / dc | Batch Controllers - S Line
S232-DL | Multidrop fiber optic - RS232 double loop converter | Communication Interfaces - Fiber Optic
S232-SL | Multidrop Fiber optic - RS232 single loop converter | Communication Interfaces - Fiber Optic
S301-1-R | 4-digit indicator, universal input, re-transmitted output, power supply 115 / 230 Vac | High brightness LED Digital Indicators - S Line
S301-1-R-AOC-S | 4-digit indicator, universal input, re-transmitted output, power supply 115 / 230 Vac, 4 open collector alarms, RS232/RS485 interface | High brightness LED Digital Indicators - S Line
S301-1-R-AR-S | 4-digit indicator, universal input, re-transmitted output, power supply 115 / 230 Vac, 4 SPDT alarms, RS232/RS485 interface | High brightness LED Digital Indicators - S Line
S301-23-R | 4-digit indicator, universal input, re-transmitted output, power supply 24 Vac/dc | High brightness LED Digital Indicators - S Line
S301-23-R -AOC-S | 4-digit indicator, universal input, re-transmitted output, power supply 24 Vac/dc, 4 open collector alarms, RS232/RS485 | High brightness LED Digital Indicators - S Line
S301-23-R -AR-S | 4-digit indicator, universal input, re-transmitted output, power supply 24 Vac/dc, 3 SPDT alarms, RS232/RS485 | High brightness LED Digital Indicators - S Line
S301B-1-R | 4 digit indicator with bargraph, universal input, re-transmitted output, power supply 115 / 230 Vac | High brightness LED Digital Indicators - S Line
S301B-1-R-AOC-S | 4 digit indicator with bargraph, universal input, re-transmitted output, power supply 115 / 230 Vac, 4 open collector alarms, RS232/RS485 interface | High brightness LED Digital Indicators - S Line
S301B-1-R-AR-S | 4 digit indicator with bargraph, universal input, re-transmitted output, power supply 115 / 230 Vac, 3 SPDT alarms, RS232/RS485 interface | High brightness LED Digital Indicators - S Line
S301B-23-R | 4 digit indicator with bargraph, universal input, re-transmitted output, power supply 24 Vac/dc | High brightness LED Digital Indicators - S Line
S301B-23-R -AOC-S | 4 digit indicator with bargraph, universal input, re-transmitted output, power supply 24 Vac/dc, 4 open collector alarms, RS232/RS485 interface | High brightness LED Digital Indicators - S Line
S301B-23-R -AR-S | 4 digit indicator with bargraph, universal input, re-transmitted output, power supply 24 Vac/dc, 3 SPDT alarms, RS232/RS485 interface | High brightness LED Digital Indicators - S Line
S30-1-ST | Advanced functions batch controller, power supply 115 / 230 Vac | Batch Controllers - S Line
S30-23-ST | Advanced functions batch controller, power supply 24 Vac / dc | Batch Controllers - S Line
S30IP65-1-ST | Advanced functions batch controller, IP65 case, power supply 115 / 230 Vac | Batch Controllers - S Line
S30IP65-23-ST | Advanced functions batch controller, IP65 case, power supply 24 Vac / dc | Batch Controllers - S Line
S30-STAMP | S30 printer board | Accessories
S310-1-ST | 3 ½ digit indicator, V / I input, power supply 115 / 230 Vac | High brightness LED Digital Indicators - S Line
S311A-11-H | Universal analog input indicator - totalizer, power supply 80-265 Vac, 11-digit display | Modular / Compact LED Indicators Totalizers - S Line
S311A-11-H-O | Universal analog input indicator - totalizer, power supply 80-265 Vac, 11 digit, optional board | Modular / Compact LED Indicators Totalizers - S Line
S311A-11-L | Universal analog input indicator - totalizer, power supply 10-40 Vdc / 19-28 Vac, 11-digit display | Modular / Compact LED Indicators Totalizers - S Line
S311A-11-L-O | Universal analog input indicator - totalizer, power supply 10-40 Vdc / 19-28 Vac, 11-digit display, optional board | Modular / Compact LED Indicators Totalizers - S Line
S311A-4-H | Universal analog input indicator - totalizer, power supply 80-265 Vac, 4-digit display | Modular / Compact LED Indicators Totalizers - S Line
S311A-4-H-O | Universal analog input indicator - totalizer, power supply 80-265 Vac, 4-digit display, optional board | Modular / Compact LED Indicators Totalizers - S Line
S311A-4-L | Universal analog input indicator - totalizer, power supply 10-40 Vdc / 19-28 Vac, 4-digit display | Modular / Compact LED Indicators Totalizers - S Line
S311A-4-L-O | Universal analog input indicator - totalizer, power supply 10-40 Vdc / 19-28 Vac, 4-digit display, optional board | Modular / Compact LED Indicators Totalizers - S Line
S311A-6-H | Universal analog input indicator - totalizer, power supply 80-265 Vac, 6-digit display | Modular / Compact LED Indicators Totalizers - S Line
S311A-6-H-O | Universal analog input indicator - totalizer, power supply 80-265 Vac, 6-digit display, optional board | Modular / Compact LED Indicators Totalizers - S Line
S311A-6-L | Universal analog input indicator - totalizer, power supply 10-40 Vdc / 19-28 Vac, 6-digit display | Modular / Compact LED Indicators Totalizers - S Line
S311A-6-L-O | Universal analog input indicator - totalizer, power supply 10-40 Vdc / 19-28 Vac, 6-digit display, optional board | Modular / Compact LED Indicators Totalizers - S Line
S311A-8-H | Universal analog input indicator - totalizer, power supply 80-265 Vac, 8-digit display | Modular / Compact LED Indicators Totalizers - S Line
S311A-8-H-O | Universal analog input indicator - totalizer, power supply 80-265 Vac, 8-digit display, optional board | Modular / Compact LED Indicators Totalizers - S Line
S311A-8-L | Universal analog input indicator - totalizer, power supply 10-40 Vdc / 19-28 Vac, 8-digit display | Modular / Compact LED Indicators Totalizers - S Line
S311A-8-L-O | Universal analog input indicator - totalizer, power supply 10-40 Vdc / 19-28 Vac, 8-digit display, optional board | Modular / Compact LED Indicators Totalizers - S Line
S311AK-4-L | 4 digit display with I/V analog input, power supply 10-40 Vdc, 19-28 Vac | Modular / Compact LED Indicators Totalizers - S Line
S311AK-4-L-IP66 | 4 digit display with I/V analog input, power supply10-40 Vdc, 19-28 Vac,with IP66 case (130x80x60 mm) | Modular / Compact LED Indicators Totalizers - S Line
S311AK-4-L-IP66D | 4 digit display with I/V analog input, power supply 10-40 Vdc, 19-28 Vac, with double instrument and IP66 case | Modular / Compact LED Indicators Totalizers - S Line
S311D-11-H | Frequency / digital input indicator - totalizer, power supply 80-265 Vac, 11-digit display | Modular / Compact LED Indicators Totalizers - S Line
S311D-11-H-O | Frequency / digital input indicator - totalizer, power supply 80-265 Vac, 11-digit display, optional board | Modular / Compact LED Indicators Totalizers - S Line
S311D-11-L | Frequency / digital input indicator - totalizer, power supply 10-40 Vdc / 19-28 Vac, 11-digit display | Modular / Compact LED Indicators Totalizers - S Line
S311D-11-L-O | Frequency / digital input indicator - totalizer, power supply 10-40 Vdc / 19-28 Vac, 11-digit display, optional board | Modular / Compact LED Indicators Totalizers - S Line
S311D-4-H | Frequency / digital input indicator - totalizer, power supply 80-265 Vac, 4-digit display | Modular / Compact LED Indicators Totalizers - S Line
S311D-4-H-O | Frequency / digital input indicator - totalizer, power supply 80-265 Vac, 4-digit display, optional board | Modular / Compact LED Indicators Totalizers - S Line
S311D-4-L | Frequency / digital input indicator - totalizer, power supply 10-40 Vdc / 19-28 Vac, 4-digit display | Modular / Compact LED Indicators Totalizers - S Line
S311D-4-L-O | Frequency / digital input indicator - totalizer, power supply 10-40 Vdc / 19-28 Vac, 4-digit display, optional board | Modular / Compact LED Indicators Totalizers - S Line
S311D-6-H | Frequency / digital input indicator - totalizer, power supply 80-265 Vac, 6-digit display | Modular / Compact LED Indicators Totalizers - S Line
S311D-6-H-O | Frequency / digital input indicator - totalizer, power supply 80-265 Vac, 6-digit display, optional board | Modular / Compact LED Indicators Totalizers - S Line
S311D-6-L | Frequency / digital input indicator - totalizer, power supply 10-40 Vdc / 19-28 Vac, 6-digit display | Modular / Compact LED Indicators Totalizers - S Line
S311D-6-L-O | Frequency / digital input indicator - totalizer, power supply 10-40 Vdc / 19-28 Vac, 6-digit display, optional board | Modular / Compact LED Indicators Totalizers - S Line
S311D-8-H | Frequency / digital input indicator - totalizer, power supply 80-265 Vac, 8-digit display | Modular / Compact LED Indicators Totalizers - S Line
S311D-8-H-O | Frequency / digital input indicator - totalizer, power supply 80-265 Vac, 8-digit display, optional board | Modular / Compact LED Indicators Totalizers - S Line
S311D-8-L | Frequency / digital input indicator - totalizer, power supply 10-40 Vdc / 19-28 Vac, 8-digit display | Modular / Compact LED Indicators Totalizers - S Line
S311D-8-L-O | Frequency / digital input indicator - totalizer, power supply 10-40 Vdc / 19-28 , 8-digit display, optional board | Modular / Compact LED Indicators Totalizers - S Line
S311OPZ | S311A / S311D optional board with RS485 Modbus interface, 2-CH alarm relay, 1-CH digital input | Accessories
S312A-4-H-4R | Analog Indicator 4-Digits Display with 4 relay outputs, power supply 85-265 Vac | Modular / Compact LED Indicators Totalizers - S Line
S312A-4-L-4R | Analog Indicator 4-Digits Display with 4 relay outputs, power supply 10-40 Vdc, 19-28 Vac | Modular / Compact LED Indicators Totalizers - S Line
S315 | 4 digit loop powered display with 4-20 mA input signal | Modular / Compact LED Indicators Totalizers - S Line
S315-IP66 | 4 digit loop powered display with 4-20 mA input signal and IP66 case | Modular / Compact LED Indicators Totalizers - S Line
S315-IP66D | 4 digit loop powered display with 4-20 mA input signal and IP66 case (x2) | Modular / Compact LED Indicators Totalizers - S Line
S320A-1-ST | 3 ½ digit indicator, V / I input, 2 relay alarms, 96x96 mm, power supply 115 / 230 Vac | High brightness LED Digital Indicators - S Line
S320A-1-ST-R | 3 ½ digit indicator, V / I input, 2 relay alarms, 96x96 mm, power supply 115 / 230 Vac, re-transmitted output | High brightness LED Digital Indicators - S Line
S320A-23-ST | 3 ½ digit indicator, V / I input, 2 relay alarms, 96x96 mm, power supply 24 Vac/dc | High brightness LED Digital Indicators - S Line
S320A-23-ST-R | 3 ½ digit indicator, V / I input, 2 relay alarms, 96x96 mm, power supply 24 Vac/dc, re-transmitted output | High brightness LED Digital Indicators - S Line
S400CL | 4-20 mA current loop protection | Overvoltages Protections - S Line
S400HV | 230 Vac power line protection | Overvoltages Protections - S Line
S400LV | 35 V power line protection | Overvoltages Protections - S Line
S401-L | ModBUS RTU indicator with OLED 2,7" display, power supply 10-40 Vdc / 19-28 Vac | HMI - Oled Modbus Display
S485-DL | Multidrop fiber optic - RS485 double loop converter | Communication Interfaces - Fiber Optic
S485-SL | Multidrop fiber optic - RS485 single loop converter | Communication Interfaces - Fiber Optic
S50-1-ST | Current loop power supply 115 / 230 Vac | Industrial Power Supply - S Line
S50-3-ST | Current loop power supply 24 Vac | Industrial Power Supply - S Line
S6000-1-ST | Pump controller, power supply 115 /230 Vac | Flow Computers - S Line
S6000-23-ST | Pump controller, power supply 24 Vac/dc | Flow Computers - S Line
S-DIN | M-RTU DIN rail clip mounting | Accessories
SENECA PACKAGE | Z-NET software suite | Programming / Software
SG-EQ4 | Equalization and connection circuit up to 4 load cell in parallel | Accessories
SG-EQ4-BOXPG7 | Equalization and connection circuit up to 4 load cell in parallel + IP66 box including mm diamter cable glands 7 and 2 hole covers | Accessories
SG-EQ4-BOXPG7-05C | Equalization and connection circuit up to 4 load cell in parallel + IP66 box including mm diamter cable glands 7 and 2 hole coversi + 5 meter shielded cable | Accessories
SG-EQ4-BOXPG7-15C | Equalization and connection circuit up to 4 load cell in parallel + IP66 box including mm diamter cable glands 7 and 2 hole coversi + 15 meter shielded cable | Accessories
SOFT2000DOS | S2000 DOS configuration software | Programming / Software
SOFT2000WIN | S2000 Windows configuration software | Programming / Software
SOFT6000 | S6000 software configuration | Programming / Software
SOFT-EDUC | Logger Manager, re-educator software | Programming / Software
SOFT-OTLM | Logger Manager, standard software | Programming / Software
SOFTS6000 | S6000 programming software | Programming / Software
S-TOOL | Configuration toolkit including Z-PROG + Z-SETUP+Z-SETUP2 + Z-4XX-D libraries+ Soft2000 DOS + Soft2000WIN + PM001601 cable | Programming / Software
STRATON-IDE256 | 256 tag Straton development environment USB activation key | Programming / Software
STRATON-IEC-EM | Energy management protocols (IEC 60870, IEC 61850) Straton license | Programming / Software
T
-T | Calibration service for S311 Line indicators - totalizers | Programming / Software
T120 | 2 wire loop powered transmitter for Pt100 and Ni100 probes | Temperature Transmitters - T Line
T120-C | 2 wire loop powered transmitter for Pt100 and Ni100 probes, configured version | Temperature Transmitters - T Line
T121 | Isolated loop powered temperature transmitter | Temperature Transmitters - T Line
T121-C | Isolated loop powered temperature transmitter, configured version | Temperature Transmitters - T Line
T201 | AC Current Transducer to DC current (4..20 mA - loop powered) | Current Transformers - T201 Line
T201DC | DC Current Transducer to DC current (4..20 mA - loop powered) - patented technology | Current Transformers - T201 Line
T201DC100 | Passive current transducer 100 Adc for 4..20 mA current loop | Current Transformers - T201 Line
T201DCH | AC/DC contactless TRMS direct and alternate current transducer | Current Transformers - T201 Line
T201DCH100 | AC/DC contactless TRMS direct and alternate current (± 100 A) transducer, Hall Effect | Current Transformers - T201 Line
T201DCH300 | AC/DC contactless TRMS direct and alternate current (± 300 A) transducer, Hall Effect | Current Transformers - T201 Line
TA100 | High precision Current Transformer for S203T (f.s.100A) | Accessories
TA15 | High precision Current Transformer for S203T (f.s. 15 A) | Accessories
TA25 | High precision Current Transformer for S203T (f.s.25A) | Accessories
TEST-3 | Voltage / Current simulator meter (handheld) | Handheld calibrator
TEST-3-PK | Test-3 Precision Kit | Accessories
TEST-3-T | Test-3 Calibration Certificate | Accessories
TREND VIEWER | Historical trend viewer package integrated in Data Recorder | Programming / Software
U
UNICONTROL01 | 64 tag Isagraf toolkit with Seneca libraries | Programming / Software
UNICONTROL02 | 256 tag Isagraf toolkit with Seneca libraries | Programming / Software
UniOP Designer | ZTOP panel operators programming software | Programming / Software
W
WS-CONTACT | Anti-intrusion wireless sensor, alarm, battery temperature monitoring | Accessories
WS-WATER | Flood wireless sensor, alarm, battery temperature monitoring | Accessories
Z
Z102 | Potentiometric to DC isolator / converter | Multistandard Converters Isolators - Z Line
Z104 | DC to frequency isolator / converter | Multistandard Converters Isolators - Z Line
Z107 | DIN rail RS232 - RS485/RS422 serial converter | Communication Interfaces - Serial
Z107E | Ethernet 10/100 MB - RS232/RS485 Adapter | Communication Interfaces - TCP-IP
Z107E2 | Ethernet - RS485 adapter | Communication Interfaces - TCP-IP
Z107FO | Fiber Optic to serial (RS232/RS485 Modbus) converter | Communication Interfaces - Fiber Optic
Z109PT2 | RTD to DC current / voltage isolator converter | Multistandard Converters Isolators - Z Line
Z109REG | Analog universal converter with galvanic isolation | Multistandard Converters Isolators - Z Line
Z109REG-BP | Analog universal converter with bipolar output and galvanic isolation | Multistandard Converters Isolators - Z Line
Z109REG2 | High performance universal converter with digital contacts, power supply 10-40 Vdc, 19-28 Vac | Multistandard Converters Isolators - Z Line
Z109REG2-ER | High performance universal converter with digital contacts, power supply 10-40 Vdc, 19-28 Vac, square root extraction | Multistandard Converters Isolators - Z Line
Z109REG2-H | High performance universal converter with digital contacts, power supply 85-265 V | Multistandard Converters Isolators - Z Line
Z109REG2-H-ER | High performance universal converter with digital contacts, power supply 85-265 V, square root extraction | Multistandard Converters Isolators - Z Line
Z109REG-ER | Analog universal converter with galvanic isolation and square root extraction | Multistandard Converters Isolators - Z Line
Z109S | DC current loop isolator | Multistandard Converters Isolators - Z Line
Z109S-DI | Wide range current loop isolator | Multistandard Converters Isolators - Z Line
Z109TC | Thermocouple to DC isolator / converter | Multistandard Converters Isolators - Z Line
Z109UI2 | DC current / voltage converter | Multistandard Converters Isolators - Z Line
Z-10-D-IN | 10-CH Digital Input module / RS485 - ModBUS | Modbus IO System - Z-PC Line
Z-10-D-OUT | 10-CH Digital Output module / RS485 - ModBUS | Modbus IO System - Z-PC Line
Z110D | DC current isolator (self-powered) double channel | Multistandard Converters Isolators - Z Line
Z110S | DC current isolator (self-powered) single channel | Multistandard Converters Isolators - Z Line
Z111 | Frequency to DC isolator / converter | Multistandard Converters Isolators - Z Line
Z112A | On/Off sensors digital amplifier, single channel | Multistandard Converters Isolators - Z Line
Z112D | On/Off sensors amplifier, double channel | Multistandard Converters Isolators - Z Line
Z113-1 | DC current / voltage, double alarm trip module with universal input and relay output | Multistandard Converters Isolators - Z Line
Z113D | DC current / voltage, double alarm trip module | Multistandard Converters Isolators - Z Line
Z113S | DC current / voltage single alarm trip module | Multistandard Converters Isolators - Z Line
Z113T | DC current / voltage triple alarm trip module | Multistandard Converters Isolators - Z Line
Z170REG | DC duplicator / isolator with universal input and 2 output | Multistandard Converters Isolators - Z Line
Z190 | DC adder - subtracter / isolator | Multistandard Converters Isolators - Z Line
Z201 | AC current to DC isolator / converter, power supply 10-40 Vdc, 19-28 Vac | Multistandard Converters Isolators - Z Line
Z201-H | AC current to DC isolator / converter, 85..265 Vac/dc | Multistandard Converters Isolators - Z Line
Z202 | AC voltage to DC isolator converter (9..40 Vdc / 19..28 Vac) | Multistandard Converters Isolators - Z Line
Z202-H | AC voltage to DC isolator / converter, 85-265 Vac/dc | Multistandard Converters Isolators - Z Line
Z202-LP | AC / DC voltage to DC isolator / converter, loop powered | Multistandard Converters Isolators - Z Line
Z203-1 | AC single phase advanced network analyzer | Multistandard Converters Isolators - Z Line
Z204 | AC/DC voltage to DC current/voltage converter with ModBUS interface | Multistandard Converters Isolators - Z Line
Z-4DI-2AI-2DO | 4 CH Digital Input/ 2 CH Analogue Input, 2 CH Digital Output, Modbus RTU | Modbus IO System - Z-PC Line
Z-3AO | 3-CH analog output module / RS485 - ModBUS | Modbus IO System - Z-PC Line
Z-4AI | 4-CH analog input module / RS485 - ModBUS | Modbus IO System - Z-PC Line
Z-4AI-D | 4-CH DC current-voltage A/D converter | Multistandard Converters Isolators - Z Line
Z-4RTD2 | 4-CH RTD input module / RS485 - ModBUS | Modbus IO System - Z-PC Line
Z-4TC | 4-CH thermocouple input module / RS485 - ModBUS | Modbus IO System - Z-PC Line
Z-4TC-D | 4-CH thermocouples A/D converter | Multistandard Converters Isolators - Z Line
Z-8AI | 8-CH analog input module / RS485 - ModBUS | Modbus IO System - Z-PC Line
Z-8R-10A | 8-CH relay board with 250 Vac - 10 A | Accessories
Z-8TC | 8-CH thermocouple input module / RS485 | Modbus IO System - Z-PC Line
Z-AIR | Radiomodem with integrated antenna. Outdoor applications, IP65 protection | Communication Interfaces - Wireless
Z-BRIDGE | ModBUS TCP-IP - ModBUS RTU Bridge with RS232 interface | Communication Interfaces - TCP-IP
Z-BRIDGE2 | Bridge ModBUS TCP-IP / ModBUS RTU with dual serial port | Communication Interfaces - TCP-IP
ZC-107FO | Fiber optics - CAN repeater converter | Communication Interfaces - Fiber Optic
ZC-16DI-8DO | 16 CH digital input - 8 CH digital output CANopen / ModBUS | CANopen IO System - Z-PC Line
ZC-24DI | 24 CH digital input CANopen / ModBUS | CANopen IO System - Z-PC Line
ZC-24DO | 24 CH digital output CANopen / ModBUS | CANopen IO System - Z-PC Line
ZC-3AO | 3 CH analog output (mA, V) CANopen module | CANopen IO System - Z-PC Line
ZC-4RTD | 4 CH RTD (P100, Ni100, Pt500, Pt1000) input CANopen module | CANopen IO System - Z-PC Line
ZC-8AI | 8 CH analog input (mA, V) CANopen module | CANopen IO System - Z-PC Line
ZC-8TC | 8 CH Thermocouple (J,K,E,N,S,R,B,T) CANopen module | CANopen IO System - Z-PC Line
Z-CANBUS | CAN Master interface, isolated repeater | Accessories
ZC-SG | 1 CH strain gauge CANopen module | CANopen IO System - Z-PC Line
Z-DAQ-PID | I/O universal module with PID regulation, RS485 - Modbus | Modbus IO System - Z-PC Line
Z-D-IN | 5-CH Digital input module / RS485 - ModBUS | Modbus IO System - Z-PC Line
Z-D-IO | 8-CH, 6 digital input - 2 digital outputs control module | Modbus IO System - Z-PC Line
Z-D-OUT | 5-CH Digital output module / RS485 | Modbus IO System - Z-PC Line
ZE-2AI | 2 CH Analogue input Modbus RTU - Modbus TCP-IP module | TCP-IP IO Modules - Z-PC Line
ZE-2AI-2DO-4DI | 4 CH Digital Input, 2 CH Analogue Input, 2 CH Digital Output Modbus RTU-Modbus TCP-IP | TCP-IP IO Modules - Z-PC Line
Z-GATEWAY | Gateway Modbus RTU ↔ Modbus TCP-IP, dual RS485 port | Communication Interfaces - TCP-IP
Z-GPRS2 | GSM/GPRS datalogger with built-in IOs e telecontrol functions | GSM/GPRS Units
Z-GW-MB | Modbus RTU Master to Modbus TCP gateway / server | Communication Interfaces - TCP-IP
Z-LINK1 | 869 Mhz Radiomodem with RS232/RS485 interface and Mesh Network Capability | Communication Interfaces - Wireless
Z-LOGGER | Datalogger, alarm module, webserver with built-in I/O | Communication Interfaces - TCP-IP
Z-LWS-C | Micro PLC - Standard CoDeSys | Multifunction CPUs - Webserver
Z-LWS-I | Micro PLC - Standard Isagraf | Multifunction CPUs - Webserver
Z-miniRTU | GSM/GPRS telecontrol unit with intergrated IO, Straton version | GSM/GPRS Units
Z-miniTWS | 100 Mhz multi-function CPU, Straton version | Multifunction CPUs - Webserver
Z-MODEM | GSM - GPRS Quadband Industrial Modem | GSM/GPRS Units
Z-NET3 | Z-PC Line System configurator, web editor included | Programming / Software
Z-NET3-IO | Modbus IO systems configutor | Programming / Software
Z-NET3 RTU-0 | Data manager for telecontrol system, standard version | Programming / Software
Z-NET3 RTU-1 | Data manager for telecontrol system + OCX exportable | Programming / Software
Z-NET3 RTU-2 | Data manager for telecontrol system + OCX exportable + download 5 RTU | Programming / Software
Z-NET3 RTU-3 | Data manager for telecontrol system + OCX exportable+ download 6-10 RTU | Programming / Software
Z-NET3 RTU-4 | Data manager for telecontrol system + OCX exportable+ download > 10 RTU | Programming / Software
Z-NET3-IEC870 | Z-PC Line software system, IEC 870 protocols configurator | Programming / Software
Z-PC FO | Multi-mode fiber optic cable, ST/ST, L=2 m | Accessories
Z-PC-DIN1-35 | DIN rail bus 1 slot 35 mm | Accessories
Z-PC-DIN2-17.5 | DIN rail bus system 2 slots 17.5 mm | Accessories
Z-PC-DIN4-35 | DIN rail bus system 4 slot 35 mm | Accessories
Z-PC-DIN8-17.5 | DIN rail bus system 8 slot 17.5 mm | Accessories
Z-PC-DINAL1-35 | DIN rail bus system head terminal + 1 slot 35 mm | Accessories
Z-PC-DINAL2-17.5 | DIN rail bus system head terminal + 2 slots 17.5 mm | Accessories
Z-POWER 115-15VA | DIN rail 19 Vac transformer, 115 / 15 VA | Accessories
Z-POWER 230-15VA | DIN rail 19 Vac transformer, 230 / 15 VA | Accessories
Z-POWER 230-25VA | DIN rail 19 Vac transformer, 230 / 25 VA | Accessories
Z-PROG | I/O modules configuration software | Programming / Software
Z-RTU-1-C | Remote Terminal Unit, Full I/O, standard CoDeSys | GSM/GPRS Units
Z-RTU-1-C-GSM | Remote Terminal Unit, Full I/O, standard CoDeSys + GSM/ GPRS | GSM/GPRS Units
Z-RTU-1-C-PSTN | Remote Terminal Unit, Full I/O, standard CoDeSys + PSTN | GSM/GPRS Units
Z-RTU-1-I | Remote Terminal Unit, Full I/O, standard Isagraf | GSM/GPRS Units
Z-RTU-1-I-GSM | Remote Terminal Unit, Full I/O, standard Isagraf + GSM/ GPRS | GSM/GPRS Units
Z-RTU-1-I-PSTN | Remote Terminal Unit, Full I/O, standard Isagraf + PSTN | GSM/GPRS Units
Z-RTU-2-C | Remote Terminal Unit, Half I/O, standard CoDeSys | GSM/GPRS Units
Z-RTU-2-C-GSM | Remote Terminal Unit, Half I/O, standard CoDeSys + GSM/ GPRS | GSM/GPRS Units
Z-RTU-2-C-PSTN | Remote Terminal Unit, Half I/O, standard CoDeSys + PSTN | GSM/GPRS Units
Z-RTU-2-I | Remote Terminal Unit, Half I/O, standard Isagraf | GSM/GPRS Units
Z-RTU-2-I-GSM | Remote Terminal Unit, Half I/O, standard Isagraf + GSM/ GPRS | GSM/GPRS Units
Z-RTU-2-I-PSTN | Remote Terminal Unit, Half I/O, standard Isagraf + PSTN | GSM/GPRS Units
Z-SETUP | Z109REG programming software | Programming / Software
Z-SG | Strain gauge to DC isolator / converter Modbus | Modbus IO System - Z-PC Line
Z-SUPPLY | Single-phase switching power supply 24V @ 1.5A | Accessories
Z-TIMER-D | Electronic timer with 2 independent time | Multistandard Converters Isolators - Z Line
ZTOP04C | 4,3" widescreen color touchscreen HMI terminal | Operator Panels - ZTOP
ZTOP306 | 5,7" TFT touchscreen HMI terminal | Operator Panels - ZTOP
ZTOPKIT | ZTOP Programming toolkit | Operator Panels - ZTOP
Z-TWS3-C | Web server unit / PLC / RTU - Standard CoDeSys | Multifunction CPUs - Webserver
Z-TWS3-I | Web server unit / PLC / RTU - Standard Isagraf | Multifunction CPUs - Webserver
Z-TWS4 | Energy Management Control unit (PLC, Web Server, Gateway) - Linux based | Multifunction CPUs - Webserver
Z-TWS4-ODE | Z-TWS4 Linux based open source development environment | Programming / Software
Z-TWS4-S | Energy Management Control unit (PLC, Web Server, Gateway) - workbench Straton | Multifunction CPUs - Webserver
Z-TWS64-C | Web server unit / PLC / RTU 64 bit - Standard CoDeSys | Multifunction CPUs - Webserver
Z-TWS64-I | Web server unit / PLC / RTU 64 bit - Standard Isagraf | Multifunction CPUs - Webserver